## Slide 1
2F7/2
F=1
F=2
F=3
F=4
F=5
F=6
2S1/2
F=2
F=3
State preparation
Allowed excited states
Measured states
Measurement1 – coherent excitation
(referenced to 172Yb+) Aug. 2024
F=2
F=4
F=6
Result

## Slide 2
2F7/2
F=1
F=2
F=3
F=4
F=5
F=6
2S1/2
F=2
F=3
State preparation
Allowed excited states
Measured states
Measurement2 - coherent excitation
Dec. 2024
F=2
F=4
F=6
Result in Hz
Couldn’t found F=1 state during this measurement!
F-state | Wfe - W6 | ua | ub
2 | 4 487 804 281 | 2 | 61
3 | 5 232 927 153 | 4 | 5989
4 | 5 297 389 030 | 8 | 6883
5 | 3 884 874 663 | 2 | 200
6 | 0 | 2 | 29
F=3
F=5

## Slide 3
2F7/2
F=1
F=2
F=3
F=4
F=5
F=6
2S1/2
F=2
F=3
State preparation
Allowed excited states
Measured states
Measurement3 – coherent excitation & RAP
Feb. 2025
Result in Hz
2S1/2 | 2F7/2 | Wfe - W6 | ua | ub
F=2,m=0 | F=1,m=0 | 3 659 258 444 | 100 | 576
F=2,m=0 | F=1,m=±1 | 3 659 258 495 | 100 | 428
F=3,m=0 | F=3,m=±2 | 5 232 926 683 | 100 | 4590
F=3,m=0 | F=4,m=0 | 5 297 389 104 | 8 | 6890
F=3,m=0 | F=4,m=±1 | 5 297 389 174 | 7 | 6460
F=3,m=±3 | F=4,m=±4 | 5 297 389 538 | 500 | 81
F=3,m=0 | F=5,m=±2 | 3 884 874 583 | 300 | 150
F=3,m=0 | F=6,m=0 | 0 | 2 | 29
F=1, m=0
F=3, m=2
F=5, m=2
F=1, m=1
F=4, m=4

## Slide 4: Summary
Fe | Meas. | Rabi? | 2S1/2 | 2F7/2 | Wfe - W6 | ua | ub
1 | 3 | N | F=2,m=0 | F=1,m=0 | 3 659 258 444 | 100 | 576
 | 3 | N | F=2,m=0 | F=1,m=±1 | 3 659 258 495 | 100 | 428
2 | 1 | Y | F=3,m=0 | F=2,m=0 | 4 487 804 282 | 1 | 67
 | 2 | Y | F=3,m=0 | F=2,m=0 | 4 487 804 281 | 2 | 80
3 | 2 | Y | F=2,m=0 | F=3,m=0 | 5 232 927 153 | 4 | 5989
 | 3 | N | F=3,m=0 | F=3,m=±2 | 5 232 926 683 | 100 | 4590
4 | 1 | Y | F=3,m=0 | F=4,m=0 | 5 297 388 925 | 7 | 6820
 | 2 | Y | F=3,m=0 | F=4,m=0 | 5 297 389 030 | 8 | 6883
 | 3 | Y | F=3,m=0 | F=4,m=0 | 5 297 389 104 | 8 | 6890
 | 3 | Y | F=3,m=0 | F=4,m=±1 | 5 297 389 174 | 7 | 6460
 | 3 | N | F=3,m=±3 | F=4,m=±4 | 5 297 389 538 | 500 | 81
5 | 2 | Y | F=3,m=0 | F=5,m=0 | 3 884 874 663 | 2 | 200
 | 3 | N | F=3,m=0 | F=5,m=±2 | 3 884 874 583 | 300 | 150
6 |  | Y | F=3,m=0 | F=6,m=0 | 0 | 2 | 29

## Slide 5
RAP
RAP

## Slide 6
RABI
RABI

## Slide 7
RAP
RABI

## Slide 8
Low quad. Zee. shift
RAP
RABI
RABI
RABI
RABI

## Slide 9
RAP
RABI